COURSE INFORMATION

Course Code: IC 603(ICE)

Course Name: Industrial instrumentation-II

Contacts: 4

PREREQUISITES

To understand this course, the student must have idea of:

- Transducer & Sensor

- Measurement System

SYLLABI

1.  Flow measurement: Introduction, Head type, Area flow meter, Mass flow meter, Positive displacement type flow meter, Electrical type flow meter, Flow marker, Open channel flow measurement, Solid flow measurement.                            										  08

2. Level measurement: Introduction, float level device, displacer level detectors, Differential pressure type level detector, Electrical type-resistance and capacitance type, Thermal, Microwave and ultrasonic radar and vibrating type level sensors. Level sensors selection and applications.                                                             06

3. Instruments for Analysis: Introduction, Gas analyzers, Liquid analyzer, X-ray methods, Chromatography, Nuclear magnetic resonance spectroscopy, Electron spins resonance/electron paramagnetic resonance spectroscopy. Mass spectroscopy, sampling techniques.                                                         08

4. Digital Transducers: Introduction, Digital encoder, linear displacement transducer, Digital tachometer, Frequency output type transducers, the signal & conversion, the instrument system.                              06

5. EMC: Introduction, interference coupling mechanism, basics of circuit layout and grounding, concepts of interfaces, filtering and shielding, safety: introduction, electrical hazards, hazardous areas and classification, non-hazardous areas, enclosures, NEMA types, fuses and circuit breakers, Protection methods: Purging, explosion proofing and intrinsic safety.   								 07

BEYOND SYLLABI COVERAGE

IC 603(ICE).I 	Concept of other non electrical parameters & their measuring system related with this syllabus.

RECOMMENDED BOOKS

Text Books:

1. Principle of Industrial Instrumentation, D. Patranabis, TMH publication.

2. Measurement Systems: Application and Design, E.O. Doebelin , McGraw Hill.

Reference Books:

1. Applied Instrumentation in Process Industries - A survey, Vol.1 & Vol.2, Gulf Publishing Company, Houston.

2. Process Measurement and Analysis, B.G. Liptak, Third edition, Chilton Book, Company, Pennsylvania, 1995.

3. Process Instruments and Control Handbook, D. M. Considine, Fourth edition, McGraw Hill.

4. Mechanical and Industrial Measurements, R.K. Jain, Tata McGraw Hill.

5. Industrial flow measurement, D.W. Spitzer, ISA press, Newyork.

6. Flow measurement, D.W. Spitzer, ISA press, Newyork.

Lecture Plan

| Cl. No. | Date | Topics | Remarks |
| --- | --- | --- | --- |
| 1 | 18/01/16 | Flow Measurement: Introduction |  |
| 2 & 3 | 21/01/16 & 22/01/16 | Head type & Area flow meter |  |
| 4 | 01/02/16 | Mass flow meter, Positive displacement type flow meter |  |
| 5 | 04/02/16 | Electrical type flow meter |  |
| 6 | 16/02/16 | Flow marker, Open channel flow measurement |  |
| 7 | 18/02/16 | Solid flow measurement |  |
| 8 | 19/02/16 | Numerical Problem analysis | Problems to be solved & Assignment |
| 9 | 22/02/16 | Level measurement: Introduction |  |
| 10 | 26/02/16 | Float level device, Displacer level detectors, Differential pressure type level detector |  |
| 11 | 29/02/16 | Electrical type-resistance and capacitance type |  |
| 12 & 13 | 01/03/16 & 04/03/16 | Thermal, Microwave and ultrasonic radar and vibrating type level sensors |  |
| 14 | 14/03/16 | Level sensors selection and applications |  |
| 15 | 15/03/16 | Numerical Problem analysis | Problems to be solved |
| 16 | 17/03/16 | Instruments for Analysis: Introduction |  |
| 17 & 18 | 18/03/16 & 28/03/16 | Gas analyzers, Liquid analyzer |  |
| 19 & 20 | 31/03/16 & 01/04/16 | X-ray methods, Chromatography, Nuclear magnetic resonance spectroscopy |  |
| 21 | 04/04/16 | Electron spins resonance/electron paramagnetic resonance spectroscopy |  |
| 22 | 08/04/16 | Mass spectroscopy, Sampling techniques |  |
| 23 | 11/04/16 | Numerical Problem analysis | Problems to be solved |
| 24 | 15/04/16 | Digital Transducers: Introduction |  |
| 25 | 18/04/16 | Digital encoder, Linear displacement transducer |  |
| 26 | 25/04/16 | Digital tachometer, Frequency output type transducers |  |
| 27 | 27/04/16 | The signal & conversion, The instrument system |  |
| 28 | 28/04/16 | Numerical Problem analysis | Problems to be solved |
| 29 | 29/04/16 | EMC: Introduction. Interference coupling mechanism, basics of circuit layout and grounding, concepts of interfaces |  |
| 30 | 02/05/16 | Filtering and shielding, Safety |  |
| 31 | 03/05/16 | Electrical hazards, hazardous areas and classification, non-hazardous areas, enclosures |  |
| 32 | 04/05/16 | NEMA types, fuses and circuit breakers |  |
| 33 & 34 | 06/05/16 & 09/05/16 | Protection methods: Purging, explosion proofing and intrinsic safety |  |
| 35 | 10/05/16 | Discussion |  |

Subject Teacher: Saorabh Kumar Mondal

Signature: